AOSC 634 Air Sampling and Analysis

Flow Through a Cylinder

When predicting or regulating the flow, F, of a gas in a system, it is important to know the relationship among flow, pressure, and dimensions of tubing.  For a cylindrical, horizontal pipe (or tube or capillary) the flow, up to some critical velocity, will be "Laminar" and follow certain laws.  In Laminar flow, the fluid moves in parallel layers, each with a constant velocity, but with a velocity relative to its neighbors.

F = f (P, x, R)

We can quantify the flow in terms of the unitless "Renold's Number," Re

Re =

Where

U = horizontal velocity in cm/s

R = radius of tube in cm

ν = the viscosity in "poise" (cm2 s-1)

The critical Renold's number for a pipe is about 2300; above this value the flow becomes turbulent, and much less predictable.  For a steady laminar flow in a horizontal cylinder, the fluid velocity will describe a parabola along the tube diameter.

Laminar Re ≤ 2300 < Re Turbulent

U (r, x) =                                        (I)

Where

r = the distance along the radius in cm

= derivative of pressure along length of the tube (the x axis)

Thus the linear velocity (or wind speed) varies with the square of the radius of tube, that is, with the area.  If the derivative of pressure with length is constant, then for a total pressure drop of ∆P and uniform tube of length L:

=                                                           (II)

To determine the volume of air passing through the tube per unit time, consider the annular element, 2πr.dr.  We must integrate the product of this area and the linear flow, U(r) to find the volume flow, F in cm3 s-1.

Volume Flow = F = 2π                                                              (III)

From Equation I and II above, we obtain:

F =

This is Poiseuille's (Pwä zweź) Equation.  Note that the volumetric flow varies linearly with pressure drop and length of the tube, but with the fourth power of the radius!  This means that you can cut a capillary tube in half and double the flow for the same pressure drop, or if you double the inside diameter of a tube, then for a constant flow the pressure drop will be reduced by a factor of 16.

F α

F α R4

Example:

For air moving through a cylinder of diameter 1” and length 3” at 10 L/s what will be the pressure drop?

=

= 183 poise at 18◦C = 1.83E-4 g cm-1s-1 = 1.83 x10-5 Pa s

F = 10 Ls-1 = 104 cm3 s-1

L = 3*2.53 cm = 7.62 cm

R = 0.5” = 1.27 cm

Check units:

cm3 s-1 cm Pa s

------------------

cm4

Ans  1.37 Pa or about 10-5 atm.

# Text boxes

R

x

dr

r

R

A = 2πr.dr